## 00_Schema_Overview
CMMS Asset Database — Complete Relational Schema ¦ All Tables & Relationships
Source: Asset_ID_Report (2957 assets) + CMMS TAG List (NRV/Booster Pump) + IC3 API Schema ¦ Sites: DJB Khyala, DJB Package 02/03/04
TABLE INVENTORY — Click sheet tabs below for full column definitions
LOCATION MASTER |  | ASSET MASTER |  | CUSTOMER MASTER |  | CORE ASSET
tbl_country | Country master — country_id PK | tbl_asset_group | Asset group classification | tbl_customer | Customer / project package master | tbl_asset | Main asset record — FK → model, customer, department
tbl_state | State/Province — FK → country | tbl_asset_category | Category: Electrical/Mechanical/Instrument |  |  | tbl_asset_location | Asset ↔ location mapping + GPS coordinates
tbl_city | City — FK → state | tbl_asset_subcategory | Sub-category — FK → category
CONTRACT & FINANCIALS |  | IoT / SCADA |  | GIS / SPATIAL |  | TRANSACTIONAL
tbl_contract | AMC/contract master — FK → asset | tbl_iot_device | IoT/RTU device master | tbl_gis_point | GIS point geometry — FK → asset_location | tbl_performance | MTTR / MTBF / availability — FK → asset
tbl_zone | Zone within site — FK → site | tbl_scada_tag | SCADA tag ↔ asset mapping |  |  | tbl_wo_transactional | WO cost/count summary — FK → asset
tbl_building | Building / OLB / Station — FK → zone |  |  |  |  | tbl_pm_schedule | PM schedule records — FK → asset
tbl_floor | Floor / Level — FK → building |  |  |  |  | tbl_monitoring | IoT monitoring array — FK → asset + scada_tag
tbl_department | Department / Bay — FK → floor

## 01_Location_Master
Location Master
01. tbl_country — Country Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
country_id | INT | PK |  | NOT NULL | Auto-increment primary key
country_code | VARCHAR(3) |  |  | NOT NULL | ISO 3166-1 alpha-2/3 country code (e.g. IN, IND)
country_name | VARCHAR(100) |  |  | NOT NULL | Full country name (e.g. India)
status | TINYINT(1) |  |  | NOT NULL | 1=Active, 0=Inactive
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
02. tbl_state — State / Province Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
state_id | INT | PK |  | NOT NULL | Auto-increment primary key
country_id | INT | FK | tbl_country.country_id | NOT NULL | FK to country
state_code | VARCHAR(10) |  |  | NOT NULL | State code (e.g. DL for Delhi)
state_name | VARCHAR(100) |  |  | NOT NULL | Full state/province name
status | TINYINT(1) |  |  | NOT NULL | 1=Active
03. tbl_city — City Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
city_id | INT | PK |  | NOT NULL | Auto-increment primary key
state_id | INT | FK | tbl_state.state_id | NOT NULL | FK to state
city_name | VARCHAR(100) |  |  | NOT NULL | City name (e.g. Delhi, Chennai)
city_code | VARCHAR(20) |  |  | NULL | Short city code
latitude | DECIMAL(10,7) |  |  | NULL | City centroid latitude (WGS84)
longitude | DECIMAL(10,7) |  |  | NULL | City centroid longitude (WGS84)
status | TINYINT(1) |  |  | NOT NULL | 1=Active
04. tbl_dma — District / DMA Zone
Column Name | Data Type | Key | FK Reference | Nullable | Description
dma_id | INT | PK |  | NOT NULL | Auto-increment primary key
city_id | INT | FK | tbl_city.city_id | NOT NULL | FK to city
dma_code | VARCHAR(30) |  |  | NOT NULL | DMA zone code (e.g. NARAINA-DC, SHASTRI-NGR)
dma_name | VARCHAR(150) |  |  | NOT NULL | DMA zone name (e.g. Naraina D.Cantt Zone)
dma_type | VARCHAR(50) |  |  | NULL | Zone type: UGR_Zone / BPS_Zone / WTP / Tubewell
boundary_geom | GEOMETRY |  |  | NULL | DMA boundary polygon (GIS)
area_sqkm | DECIMAL(10,3) |  |  | NULL | DMA area in sq km
population | INT |  |  | NULL | Approx population served
status | TINYINT(1) |  |  | NOT NULL | 1=Active
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
⚠ DMA = District Metered Area (water utility zoning). Sample: Naraina D.Cantt, Shastri Nagar, Patel Road
05. tbl_site — Site / Facility Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
site_id | INT | PK |  | NOT NULL | Auto-increment primary key
dma_id | INT | FK | tbl_dma.dma_id | NOT NULL | FK to DMA zone
city_id | INT | FK | tbl_city.city_id | NOT NULL | FK to city (direct for faster lookup)
customer_id | INT | FK | tbl_customer.customer_id | NOT NULL | FK to customer / package owner
site_code | VARCHAR(30) |  |  | NOT NULL | Site code (e.g. CHAND-WTP, WAZ-WTP)
site_name | VARCHAR(200) |  |  | NOT NULL | Full site name (e.g. DJB Chandrawal WTP)
site_type | VARCHAR(30) |  |  | NOT NULL | WTP / UGR / BPS / OLB / Tubewell / Other
om_package_code | VARCHAR(50) |  |  | NULL | O&M contract package (e.g. DJB_Package 02)
address_line1 | VARCHAR(200) |  |  | NULL | Street address line 1
address_line2 | VARCHAR(200) |  |  | NULL | Address line 2 (area/landmark)
postal_code | VARCHAR(15) |  |  | NULL | PIN / postal code
site_latitude | DECIMAL(10,7) |  |  | NULL | Site centroid GPS latitude (WGS84)
site_longitude | DECIMAL(10,7) |  |  | NULL | Site centroid GPS longitude (WGS84)
site_full_address | VARCHAR(500) |  |  | NULL | Full concatenated address string
nearest_landmark | VARCHAR(200) |  |  | NULL | Nearest visible landmark
floor_map_url | VARCHAR(500) |  |  | NULL | URL to site layout drawing
status | TINYINT(1) |  |  | NOT NULL | 1=Active
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
updated_at | DATETIME |  |  | NOT NULL | Last update timestamp
⚠ Sample sites: DJB Chandrawal WTP, WAZIRABAD WTP, BHIKAJI CAMA PALACE BPS
06. tbl_zone — Zone within Site
Column Name | Data Type | Key | FK Reference | Nullable | Description
zone_id | INT | PK |  | NOT NULL | Auto-increment primary key (= CMMS location_id)
site_id | INT | FK | tbl_site.site_id | NOT NULL | FK to site
zone_code | VARCHAR(30) |  |  | NULL | Short zone code
zone_name | VARCHAR(150) |  |  | NOT NULL | Zone name (= CMMS location_name)
zone_type | VARCHAR(50) |  |  | NULL | UGR_Zone / BPS_Zone / OLB / Pump House
complaint_zone_id | VARCHAR(30) |  |  | NULL | IC3 complaint routing zone ID
ic3_map_label | VARCHAR(150) |  |  | NULL | Label shown on IC3 GIS map pin
zone_lat | DECIMAL(10,7) |  |  | NULL | Zone centroid latitude
zone_lon | DECIMAL(10,7) |  |  | NULL | Zone centroid longitude
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Maps to CMMS location_name. Sample: Patel Road Online BPS_Zone, New Rajender Nagar R Block_Zone
07. tbl_building — Building / OLB / Station
Column Name | Data Type | Key | FK Reference | Nullable | Description
building_id | INT | PK |  | NOT NULL | Auto-increment primary key (= CMMS building_id)
zone_id | INT | FK | tbl_zone.zone_id | NOT NULL | FK to zone
building_code | VARCHAR(30) |  |  | NULL | Building short code
building_name | VARCHAR(200) |  |  | NOT NULL | Building/station name (= CMMS building_name)
building_type | VARCHAR(50) |  |  | NULL | OLB / Pump House / Control Room / Civil Structure
floor_map_url | VARCHAR(500) |  |  | NULL | Building floor plan URL
latitude | DECIMAL(10,7) |  |  | NULL | Building GPS latitude
longitude | DECIMAL(10,7) |  |  | NULL | Building GPS longitude
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Maps to CMMS building_name. Sample: 35 Block West Patel Nagar BPS, Hanuman Mandir OLB
08. tbl_floor — Floor / Level
Column Name | Data Type | Key | FK Reference | Nullable | Description
floor_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS floor_id)
building_id | INT | FK | tbl_building.building_id | NOT NULL | FK to building
floor_level | INT |  |  | NOT NULL | Numeric level: 0=Ground, 1=First, -1=Basement
floor_name | VARCHAR(100) |  |  | NOT NULL | Floor name (= CMMS floor_name)
floor_map_url | VARCHAR(500) |  |  | NULL | Floor plan image URL (= CMMS floor_map)
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Maps to CMMS floor_name. In water utilities floor_name often = site name (top-level)
09. tbl_department — Department / Bay / Room
Column Name | Data Type | Key | FK Reference | Nullable | Description
department_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS department_id)
floor_id | INT | FK | tbl_floor.floor_id | NOT NULL | FK to floor
department_name | VARCHAR(150) |  |  | NOT NULL | Department/bay name (= CMMS department_name)
room_number | VARCHAR(30) |  |  | NULL | Room/bay number on floor plan
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Maps to CMMS department_name. Sample: OLB, Pump House, Electrical Room

## 02_Asset_Master
Asset Master
10. tbl_asset_group — Asset Group
Column Name | Data Type | Key | FK Reference | Nullable | Description
group_id | INT | PK |  | NOT NULL | Auto-increment PK
group_code | VARCHAR(30) |  |  | NOT NULL | Short code (e.g. PUMP-HOUSE)
group_name | VARCHAR(150) |  |  | NOT NULL | Group name (e.g. Pump House Equipment)
description | TEXT |  |  | NULL | Description of the asset group
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Sample: Pump House Equipment, Treatment Plant, Instrumentation, Civil Structure
11. tbl_asset_category — Asset Category
Column Name | Data Type | Key | FK Reference | Nullable | Description
cat_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS cat_id)
group_id | INT | FK | tbl_asset_group.group_id | NOT NULL | FK to asset group
cat_code | VARCHAR(30) |  |  | NOT NULL | Category code (e.g. ELEC, MECH, INST, CIVIL)
cat_name | VARCHAR(100) |  |  | NOT NULL | Category name — standardised spelling
cat_status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Standardised from report: Electrical / Mechanical / Instrumentation / Civil (normalise mixed case)
12. tbl_asset_subcategory — Asset Sub-Category
Column Name | Data Type | Key | FK Reference | Nullable | Description
subcategory_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS subcategory_id)
cat_id | INT | FK | tbl_asset_category.cat_id | NOT NULL | FK to category
subcategory_code | VARCHAR(30) |  |  | NOT NULL | Short code (e.g. NRV, BP, LTP)
subcategory_name | VARCHAR(150) |  |  | NOT NULL | Sub-category name — normalised
subcategory_status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Sample: NRV, Booster Pump, LT Panel, Flow Meter, Sluice Valve, HT Panel — normalise spelling
13. tbl_asset_type — Asset Type
Column Name | Data Type | Key | FK Reference | Nullable | Description
asset_type_id | INT | PK |  | NOT NULL | Auto-increment PK
subcategory_id | INT | FK | tbl_asset_subcategory.subcategory_id | NOT NULL | FK to sub-category
type_code | VARCHAR(30) |  |  | NOT NULL | Asset type code (e.g. NRV-150MM)
type_name | VARCHAR(200) |  |  | NOT NULL | Full type name (e.g. Non-Return Valve 150MM)
is_movable | TINYINT(1) |  |  | NOT NULL | 1=Movable/portable, 0=Fixed/installed
is_measuring | TINYINT(1) |  |  | NOT NULL | 1=Measuring instrument, 0=Not measuring
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ More specific than sub-category. E.g. Sub-cat=NRV → Types: NRV 150MM, NRV 200MM, NRV 250MM
14. tbl_manufacturer — Manufacturer Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
manufacturer_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS manufacturer_id)
manufacturer_code | VARCHAR(30) |  |  | NOT NULL | Short code (e.g. KBL, ABB, L&T)
manufacturer_name | VARCHAR(200) |  |  | NOT NULL | Full manufacturer name (standardised)
manufacturer_aliases | VARCHAR(500) |  |  | NULL | Comma-separated known variants/misspellings
country_id | INT | FK | tbl_country.country_id | NULL | Manufacturer origin country
manufacturer_status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Normalise duplicates: Kirloskar / Kiloskar / KBL → tbl_manufacturer_alias for mapping
15. tbl_equipment_model — Equipment Model Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
model_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS model_id)
asset_type_id | INT | FK | tbl_asset_type.asset_type_id | NOT NULL | FK to asset type
manufacturer_id | INT | FK | tbl_manufacturer.manufacturer_id | NOT NULL | FK to manufacturer
model_code | VARCHAR(50) |  |  | NOT NULL | Model number/code (e.g. 76HC-022/21, 100 KW)
model_name | VARCHAR(200) |  |  | NOT NULL | Model display name
equipment_description | TEXT |  |  | NULL | Detailed equipment description
capacity_rating | VARCHAR(100) |  |  | NULL | Capacity/rating (e.g. 27.68KW/198CUM, 150MM)
model_image_url | VARCHAR(500) |  |  | NULL | Equipment model image URL
basic_warranty_duration | INT |  |  | NULL | Basic warranty duration (number)
basic_warranty_period | VARCHAR(20) |  |  | NULL | Warranty period unit: Month / Year
is_other_warranty | TINYINT(1) |  |  | NOT NULL | 1=Has additional warranty
other_warranty_name | VARCHAR(100) |  |  | NULL | Other warranty name
other_warranty_duration | INT |  |  | NULL | Other warranty duration
other_warranty_period | VARCHAR(20) |  |  | NULL | Other warranty period unit
warranty_description | TEXT |  |  | NULL | Full warranty description
meter_reading_frequency | INT |  |  | NULL | Meter reading interval number
meter_reading_frequency_unit | VARCHAR(20) |  |  | NULL | Days / Hours / Weeks
is_measuring_equipment | TINYINT(1) |  |  | NOT NULL | 1=Measuring instrument type
model_status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Maps to CMMS model_id. Links asset_type + manufacturer to produce a fully defined model record

## 03_Customer_Master
Customer Master
16. tbl_customer — Customer / Package Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
customer_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS customer_id)
customer_code | VARCHAR(30) |  |  | NOT NULL | Short code (e.g. DJB-PKG02)
customer_name | VARCHAR(200) |  |  | NOT NULL | Customer / package name
om_package_code | VARCHAR(50) |  |  | NULL | O&M package code (e.g. DJB_Package 02)
contact_person | VARCHAR(150) |  |  | NULL | Primary contact name
contact_number | VARCHAR(30) |  |  | NULL | Contact phone number
contact_email | VARCHAR(150) |  |  | NULL | Contact email address
city_id | INT | FK | tbl_city.city_id | NULL | Customer HQ city
geo_address | VARCHAR(500) |  |  | NULL | Full geographic address
customer_latitude | DECIMAL(10,7) |  |  | NULL | Customer HQ latitude
customer_longitude | DECIMAL(10,7) |  |  | NULL | Customer HQ longitude
customer_priority | TINYINT |  |  | NULL | Priority level 1–5
customer_status | TINYINT(1) |  |  | NOT NULL | 1=Active
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
⚠ Sample: DJB Khyala, DJB_Package 02, DJB_Package 03, DJB_Package 04

## 04_Core_Asset
Core Asset
17. tbl_asset — Core Asset Record (Main Table)
Column Name | Data Type | Key | FK Reference | Nullable | Description
id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS id / traceid)
traceid | INT |  |  | NOT NULL | CMMS traceability ID (same as id in most cases)
serialnumber | VARCHAR(100) |  |  | NOT NULL | Asset serial number / CMMS serial ID
asset_reference_number | VARCHAR(100) |  |  | NULL | Asset reference number
barcode | VARCHAR(100) |  |  | NULL | Barcode value
qrcode | VARCHAR(100) |  |  | NULL | QR code value
qrcode_image | VARCHAR(500) |  |  | NULL | QR code image URL
ble_id | VARCHAR(100) |  |  | NULL | BLE beacon identifier
rfidcode | VARCHAR(100) |  |  | NULL | RFID code
model_id | INT | FK | tbl_equipment_model.model_id | NOT NULL | FK to equipment model master
customer_id | INT | FK | tbl_customer.customer_id | NOT NULL | FK to customer / package
department_id | INT | FK | tbl_department.department_id | NOT NULL | FK to department (primary location)
fk_company_id | INT |  |  | NOT NULL | Internal company FK
criticality | VARCHAR(20) |  |  | NOT NULL | High / Medium / Low / Non-Critical
criticality_type | TINYINT |  |  | NULL | Criticality type code (1/2/3)
asset_type_flag | TINYINT |  |  | NULL | 1=Fixed, 2=Movable, 3=Loaner
asset_group_id | INT | FK | tbl_asset_group.group_id | NULL | FK to asset group
installation_date | DATE |  |  | NULL | Installation/commissioning date [P1 CRITICAL — currently NULL]
year_of_manufacturing | YEAR |  |  | NULL | Year of manufacture
purchase_date | DATE |  |  | NULL | Purchase date
purchase_value | DECIMAL(15,2) |  |  | NULL | Purchase value (INR)
current_asset_value | DECIMAL(15,2) |  |  | NULL | Current depreciated value
salvage_value | DECIMAL(15,2) |  |  | NULL | Salvage/residual value
asset_lifespan | INT |  |  | NULL | Expected lifespan in years
depreciation_type | VARCHAR(30) |  |  | NULL | SLM / WDV / other
depreciation_pct | DECIMAL(5,2) |  |  | NULL | Depreciation rate %
po_number | VARCHAR(100) |  |  | NULL | Purchase order number
status | TINYINT(1) |  |  | NOT NULL | 1=Active, 0=Inactive
reason_for_inactive | VARCHAR(300) |  |  | NULL | Reason if status=Inactive
asset_live_status | TINYINT(1) |  |  | NULL | 1=Live/Running, 0=Offline (from SCADA)
is_running | TINYINT(1) |  |  | NULL | 1=Currently running
is_main_asset | TINYINT(1) |  |  | NOT NULL | 1=Parent/main asset, 0=Child
is_movable | TINYINT(1) |  |  | NOT NULL | 1=Movable
is_facility | TINYINT(1) |  |  | NOT NULL | 1=Facility asset
is_loaner | TINYINT(1) |  |  | NOT NULL | 0=Not loaner
is_system_asset | TINYINT(1) |  |  | NOT NULL | 0=User asset
iot_device_mapped | TINYINT(1) |  |  | NOT NULL | 1=IoT device linked [P1 — currently 0]
is_ble_tracking | TINYINT(1) |  |  | NOT NULL | 1=BLE tracking enabled
is_rfid_tracking | TINYINT(1) |  |  | NOT NULL | 1=RFID tracking enabled
is_qr_tracking | TINYINT(1) |  |  | NOT NULL | 1=QR tracking enabled
is_tracking_enabled | TINYINT(1) |  |  | NOT NULL | 1=Any tracking active
approval_required | TINYINT(1) |  |  | NOT NULL | 1=WO approval needed
workorder_required | TINYINT(1) |  |  | NOT NULL | 1=WO mandatory
schedule_configured | TINYINT(1) |  |  | NULL | 1=PM schedule configured
in_charge_person | VARCHAR(150) |  |  | NULL | In-charge O&M person/agency
units_produced | DECIMAL(15,3) |  |  | NULL | Total units produced / volume (SCADA totalizer) [P1 — currently NULL]
production_capability | DECIMAL(15,3) |  |  | NULL | Rated production capability
meter_reading | DECIMAL(15,3) |  |  | NULL | Current meter reading
asset_created_date | DATETIME |  |  | NOT NULL | CMMS record creation date
traceability_updated_on | DATETIME |  |  | NULL | Last traceability update
⚠ Central fact table. Every asset in CMMS has one record here. FK bridges all master tables.
18. tbl_asset_location — Asset ↔ Location Mapping + GPS
Column Name | Data Type | Key | FK Reference | Nullable | Description
asset_location_id | INT | PK |  | NOT NULL | Auto-increment PK
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
department_id | INT | FK | tbl_department.department_id | NOT NULL | FK to department (current)
floor_id | INT | FK | tbl_floor.floor_id | NOT NULL | FK to floor
building_id | INT | FK | tbl_building.building_id | NOT NULL | FK to building
zone_id | INT | FK | tbl_zone.zone_id | NOT NULL | FK to zone
site_id | INT | FK | tbl_site.site_id | NOT NULL | FK to site
location_description | VARCHAR(300) |  |  | NULL | Free-text current location description
room_number | VARCHAR(30) |  |  | NULL | Room/bay number on floor plan
latitude | DECIMAL(10,7) |  |  | NULL | Asset GPS latitude [P1 CRITICAL — currently NULL]
longitude | DECIMAL(10,7) |  |  | NULL | Asset GPS longitude [P1 CRITICAL — currently NULL]
altitude_m | DECIMAL(8,3) |  |  | NULL | Altitude in metres above MSL
gps_accuracy_m | DECIMAL(6,2) |  |  | NULL | GPS accuracy radius in metres
coordinate_system | VARCHAR(20) |  |  | NULL | CRS: WGS84 / UTM / Local
gis_easting | DECIMAL(12,3) |  |  | NULL | Easting (projected CRS)
gis_northing | DECIMAL(12,3) |  |  | NULL | Northing (projected CRS)
tracking_source | VARCHAR(30) |  |  | NULL | GPS Survey / Handheld GPS / BLE / Manual
gis_map_layer | VARCHAR(20) |  |  | NULL | indoor / outdoor / hybrid
gis_floor_level | INT |  |  | NULL | 0=Ground, 1=First, -1=Basement
gis_x_pixel | INT |  |  | NULL | X pixel on floor plan image
gis_y_pixel | INT |  |  | NULL | Y pixel on floor plan image
indoor_map_ref | VARCHAR(500) |  |  | NULL | URL to indoor floor plan
nearest_landmark | VARCHAR(200) |  |  | NULL | Nearest landmark
gis_pin_color | VARCHAR(10) |  |  | NULL | IC3 map pin colour: Red/Amber/Green
visible_on_map | TINYINT(1) |  |  | NOT NULL | 1=Show on IC3 GIS map
surveyed_by | VARCHAR(150) |  |  | NULL | GPS surveyor name/ID
survey_date | DATE |  |  | NULL | Last GPS survey date
current_flag | TINYINT(1) |  |  | NOT NULL | 1=Current active location, 0=Historical
effective_from | DATETIME |  |  | NOT NULL | When this location became active
effective_to | DATETIME |  |  | NULL | When this location ended (NULL=current)
⚠ Separate table allows location history tracking. current_flag=1 is active location.

## 05_Contract
Contract
19. tbl_contract — Contract / AMC Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
contract_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS asset_contract_id)
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
customer_id | INT | FK | tbl_customer.customer_id | NOT NULL | FK to customer
contract_name | VARCHAR(200) |  |  | NOT NULL | AMC / contract name [P1 — currently NULL]
contract_number | VARCHAR(100) |  |  | NOT NULL | Contract reference number [P1 — currently NULL]
contract_type | VARCHAR(50) |  |  | NULL | AMC / Warranty / O&M / CAMC
in_contract_type | TINYINT |  |  | NULL | Contract type code (enum)
service_provider_name | VARCHAR(200) |  |  | NULL | Vendor / service provider name
amc_id | INT |  |  | NULL | AMC record ID
start_date | DATE |  |  | NULL | Contract start date [P1 — currently NULL]
end_date | DATE |  |  | NULL | Contract end date — IC3 30-day expiry alert [P1]
contract_status | TINYINT(1) |  |  | NOT NULL | 1=Active, 0=Expired
is_existing_contract | TINYINT(1) |  |  | NULL | 1=Pre-existing contract
no_of_callout | INT |  |  | NULL | Allowed callouts under contract
package_code | VARCHAR(50) |  |  | NULL | Package code from contract
is_callout_restriction | TINYINT(1) |  |  | NULL | 1=Callout limit applies
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
⚠ Currently ALL NULL across 2957 assets — P1 Critical to populate before IC3 go-live

## 06_IoT_SCADA
IoT SCADA
20. tbl_iot_device — IoT / RTU Device Master
Column Name | Data Type | Key | FK Reference | Nullable | Description
device_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS device_id)
device_reference_id | VARCHAR(100) |  |  | NOT NULL | Device reference code (e.g. RTU-CHAND-01)
device_ip | VARCHAR(45) |  |  | NULL | Device IP address
device_mac | VARCHAR(20) |  |  | NULL | Device MAC address
rtu_device_id | VARCHAR(100) |  |  | NULL | RTU/PLC identifier
protocol | VARCHAR(30) |  |  | NULL | MQTT / REST / Modbus / OPC-UA
signal_strength | DECIMAL(5,2) |  |  | NULL | Last known signal strength (dBm)
last_tracking_time | DATETIME |  |  | NULL | Last data received timestamp
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Currently iot_device_mapped=0 for all assets. Must be populated to enable IC3 live SCADA.
21. tbl_scada_tag — SCADA Tag ↔ Asset Mapping
Column Name | Data Type | Key | FK Reference | Nullable | Description
tag_id | INT | PK |  | NOT NULL | Auto-increment PK
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
device_id | INT | FK | tbl_iot_device.device_id | NULL | FK to IoT device
scada_tag_id | VARCHAR(100) |  |  | NOT NULL | SCADA system tag name (e.g. DJB_CHAND_BP02_FLOW)
mqtt_topic | VARCHAR(300) |  |  | NULL | Full MQTT topic path for this tag
ic3_tile_id | VARCHAR(100) |  |  | NULL | IC3 dashboard tile reference
ic3_section | VARCHAR(50) |  |  | NULL | IC3 section: Dashboard / GIS Map / Alerts / Reports
ic3_alert_priority | VARCHAR(5) |  |  | NULL | P1 / P2 / P3
api_permission | VARCHAR(10) |  |  | NULL | Read / Write / Read-Write
data_quality | VARCHAR(20) |  |  | NULL | Good / Stale / Alarm / No Data
om_agency | VARCHAR(100) |  |  | NULL | O&M agency responsible
status | TINYINT(1) |  |  | NOT NULL | 1=Active
⚠ Links CMMS asset to SCADA/IC3 data points. MQTT topic structure: jwil/DJB/{site}/CMMS/{asset_id}

## 07_GIS_Spatial
GIS Spatial
22. tbl_gis_point — GIS Geometry Store
Column Name | Data Type | Key | FK Reference | Nullable | Description
gis_id | INT | PK |  | NOT NULL | Auto-increment PK
asset_location_id | INT | FK | tbl_asset_location.asset_location_id | NOT NULL | FK to asset location
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset (direct for performance)
point_geometry | GEOMETRY(Point) |  |  | NULL | WGS84 point geometry (PostGIS / MySQL spatial)
polygon_geometry | GEOMETRY(Poly) |  |  | NULL | Asset footprint polygon (large fixed equipment)
route_geometry | GEOMETRY(Line) |  |  | NULL | Route/path geometry (mobile assets)
geofence_id | INT |  |  | NULL | FK to geofence zone record
geofence_name | VARCHAR(150) |  |  | NULL | Geofence zone name
plus_code | VARCHAR(30) |  |  | NULL | Google Plus Code / Open Location Code
what3words | VARCHAR(50) |  |  | NULL | what3words address
map_provider | VARCHAR(30) |  |  | NULL | Google Maps / Mapbox / OSM / ArcGIS
external_map_link | VARCHAR(500) |  |  | NULL | Deep-link to external GIS system
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
⚠ Stores extended GIS geometry. Simple lat/lon lives in tbl_asset_location.

## 08_Transactional
Transactional
23. tbl_performance — Asset Performance KPIs
Column Name | Data Type | Key | FK Reference | Nullable | Description
perf_id | INT | PK |  | NOT NULL | Auto-increment PK
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
period_from | DATE |  |  | NOT NULL | KPI period start date
period_to | DATE |  |  | NOT NULL | KPI period end date
total_ticket | INT |  |  | NULL | Total breakdown tickets in period
mttr | DECIMAL(10,2) |  |  | NULL | Mean Time To Repair (hours)
mtbf | DECIMAL(10,2) |  |  | NULL | Mean Time Between Failures (hours)
availability | DECIMAL(5,2) |  |  | NULL | Asset availability % (0–100)
total_ticket_breakdown_hrs | DECIMAL(10,2) |  |  | NULL | Total hours lost to breakdown tickets
total_schedule_breakdown_hrs | DECIMAL(10,2) |  |  | NULL | Total PM deviation hours
total_actual_hrs | VARCHAR(20) |  |  | NULL | Total operational hours (HH:MM:SS format)
created_at | DATETIME |  |  | NOT NULL | Record timestamp
24. tbl_wo_transactional — Work Order Cost / Count Summary
Column Name | Data Type | Key | FK Reference | Nullable | Description
wo_trans_id | INT | PK |  | NOT NULL | Auto-increment PK
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
summary_type | VARCHAR(20) |  |  | NOT NULL | upto (cumulative) / last_year
work_estimate_count | INT |  |  | NULL | Number of work estimates
work_estimate_cost | DECIMAL(15,2) |  |  | NULL | Total work estimate cost (INR)
schedule_count | INT |  |  | NULL | Number of PM schedules
schedule_cost | DECIMAL(15,2) |  |  | NULL | Total PM schedule cost (INR)
ticket_count | INT |  |  | NULL | Number of BM tickets
ticket_cost | DECIMAL(15,2) |  |  | NULL | Total BM ticket cost (INR)
created_at | DATETIME |  |  | NOT NULL | Record timestamp
25. tbl_pm_schedule — PM Schedule Records
Column Name | Data Type | Key | FK Reference | Nullable | Description
schedule_id | INT | PK |  | NOT NULL | Auto-increment PK (= CMMS schedule_id)
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
schedule_name | VARCHAR(200) |  |  | NOT NULL | PM schedule name
schedule_type | VARCHAR(50) |  |  | NOT NULL | Preventive / Predictive / Calibration
scheduled_date | DATE |  |  | NOT NULL | Planned date
completion_date | DATE |  |  | NULL | Actual completion date
schedule_status | VARCHAR(30) |  |  | NOT NULL | Scheduled / In Progress / Completed / Overdue
assigned_technician | VARCHAR(150) |  |  | NULL | Assigned technician name/ID
estimated_duration | DECIMAL(6,2) |  |  | NULL | Estimated duration (hours)
actual_duration | DECIMAL(6,2) |  |  | NULL | Actual duration (hours)
schedule_cost | DECIMAL(15,2) |  |  | NULL | PM cost (INR)
next_schedule_date | DATE |  |  | NULL | Next planned maintenance date
schedule_reference_id | INT |  |  | NULL | PM template reference ID
created_at | DATETIME |  |  | NOT NULL | Record creation timestamp
26. tbl_monitoring — IoT Real-Time Monitoring Array
Column Name | Data Type | Key | FK Reference | Nullable | Description
monitoring_id | BIGINT | PK |  | NOT NULL | Auto-increment PK (time-series — use BIGINT)
asset_id | INT | FK | tbl_asset.id | NOT NULL | FK to asset
tag_id | INT | FK | tbl_scada_tag.tag_id | NULL | FK to SCADA tag
parameter | VARCHAR(100) |  |  | NOT NULL | Parameter name (e.g. Flow Rate, Pressure, Vibration)
value | DECIMAL(15,4) |  |  | NULL | Current parameter value
unit | VARCHAR(30) |  |  | NULL | Engineering unit (m³/hr, bar, dBm)
timestamp | DATETIME |  |  | NOT NULL | Reading timestamp (UTC)
threshold_high | DECIMAL(15,4) |  |  | NULL | High alarm threshold
threshold_low | DECIMAL(15,4) |  |  | NULL | Low alarm threshold
alarm_status | VARCHAR(20) |  |  | NULL | Normal / HI / LO / HH / LL / Fault
data_quality | VARCHAR(20) |  |  | NULL | Good / Stale / Bad / Estimated
⚠ CRITICAL: Currently EMPTY for all assets. Requires SCADA-CMMS tag mapping (iot_device_mapped=1).

## 09_FK_Relationships
FOREIGN KEY RELATIONSHIPS — Complete Join Map
# | Child Table | Child Column | Relationship | Parent Table | Parent Column | Type | Purpose / Join Use
1 | tbl_state | country_id | → | tbl_country | country_id | MANY-TO-ONE | State belongs to Country
2 | tbl_city | state_id | → | tbl_state | state_id | MANY-TO-ONE | City belongs to State
3 | tbl_dma | city_id | → | tbl_city | city_id | MANY-TO-ONE | DMA zone within City
4 | tbl_site | dma_id | → | tbl_dma | dma_id | MANY-TO-ONE | Site within DMA zone
5 | tbl_site | city_id | → | tbl_city | city_id | MANY-TO-ONE | Site city (direct FK for query perf)
6 | tbl_site | customer_id | → | tbl_customer | customer_id | MANY-TO-ONE | Site owned by Customer/Package
7 | tbl_zone | site_id | → | tbl_site | site_id | MANY-TO-ONE | Zone within Site
8 | tbl_building | zone_id | → | tbl_zone | zone_id | MANY-TO-ONE | Building within Zone
9 | tbl_floor | building_id | → | tbl_building | building_id | MANY-TO-ONE | Floor within Building
10 | tbl_department | floor_id | → | tbl_floor | floor_id | MANY-TO-ONE | Department/Bay on Floor
11 | tbl_asset_category | group_id | → | tbl_asset_group | group_id | MANY-TO-ONE | Category belongs to Asset Group
12 | tbl_asset_subcategory | cat_id | → | tbl_asset_category | cat_id | MANY-TO-ONE | Sub-category under Category
13 | tbl_asset_type | subcategory_id | → | tbl_asset_subcategory | subcategory_id | MANY-TO-ONE | Asset Type under Sub-Category
14 | tbl_equipment_model | asset_type_id | → | tbl_asset_type | asset_type_id | MANY-TO-ONE | Model belongs to Asset Type
15 | tbl_equipment_model | manufacturer_id | → | tbl_manufacturer | manufacturer_id | MANY-TO-ONE | Model made by Manufacturer
16 | tbl_manufacturer | country_id | → | tbl_country | country_id | MANY-TO-ONE | Manufacturer origin country
17 | tbl_asset | model_id | → | tbl_equipment_model | model_id | MANY-TO-ONE | Asset is of an Equipment Model
18 | tbl_asset | customer_id | → | tbl_customer | customer_id | MANY-TO-ONE | Asset belongs to Customer/Package
19 | tbl_asset | department_id | → | tbl_department | department_id | MANY-TO-ONE | Asset primary department
20 | tbl_asset | asset_group_id | → | tbl_asset_group | group_id | MANY-TO-ONE | Asset classified in Group
21 | tbl_asset_location | asset_id | → | tbl_asset | id | MANY-TO-ONE | Location record for Asset (history)
22 | tbl_asset_location | department_id | → | tbl_department | department_id | MANY-TO-ONE | Asset location → Department
23 | tbl_asset_location | floor_id | → | tbl_floor | floor_id | MANY-TO-ONE | Asset location → Floor
24 | tbl_asset_location | building_id | → | tbl_building | building_id | MANY-TO-ONE | Asset location → Building
25 | tbl_asset_location | zone_id | → | tbl_zone | zone_id | MANY-TO-ONE | Asset location → Zone
26 | tbl_asset_location | site_id | → | tbl_site | site_id | MANY-TO-ONE | Asset location → Site
27 | tbl_contract | asset_id | → | tbl_asset | id | MANY-TO-ONE | Contract for Asset
28 | tbl_contract | customer_id | → | tbl_customer | customer_id | MANY-TO-ONE | Contract under Customer
29 | tbl_scada_tag | asset_id | → | tbl_asset | id | MANY-TO-ONE | SCADA tag for Asset
30 | tbl_scada_tag | device_id | → | tbl_iot_device | device_id | MANY-TO-ONE | Tag on IoT Device
31 | tbl_gis_point | asset_location_id | → | tbl_asset_location | asset_location_id | ONE-TO-ONE | GIS geometry extends asset location
32 | tbl_gis_point | asset_id | → | tbl_asset | id | MANY-TO-ONE | Direct FK for GIS queries
33 | tbl_performance | asset_id | → | tbl_asset | id | MANY-TO-ONE | Performance KPIs per Asset
34 | tbl_wo_transactional | asset_id | → | tbl_asset | id | MANY-TO-ONE | WO cost summary per Asset
35 | tbl_pm_schedule | asset_id | → | tbl_asset | id | MANY-TO-ONE | PM Schedules for Asset
36 | tbl_monitoring | asset_id | → | tbl_asset | id | MANY-TO-ONE | IoT readings for Asset
37 | tbl_monitoring | tag_id | → | tbl_scada_tag | tag_id | MANY-TO-ONE | Reading tagged to SCADA tag

## 10_DataGaps_ClientAction
DATA GAPS & CLIENT ACTION ITEMS — Based on actual CMMS data analysis (2957 assets, 2 sites)
# | Table | Column(s) | Priority | % NULL in CMMS | IC3 Impact | Root Cause | Client Action Required | Target Table to Populate
1 | tbl_asset_location | latitude, longitude | P1 🔴 BLOCKING | 100% NULL | IC3 GIS map — assets cannot be plotted | GPS survey never done; CMMS fields exist but not populated | Conduct GPS survey for all 2957 assets; populate lat/lon in tbl_asset_location | tbl_asset_location
2 | tbl_asset | installation_date | P1 🔴 BLOCKING | ~100% NULL | Asset age, warranty & PM scheduling broken | Not entered during commissioning | Extract from project handover documents; populate installation_date | tbl_asset
3 | tbl_contract | contract_name, contract_number, start_date, end_date | P1 🔴 BLOCKING | 100% NULL | IC3 contract expiry alert completely blind | AMC/contract data not migrated to CMMS | Collect from project contract documents; populate tbl_contract | tbl_contract
4 | tbl_asset | iot_device_mapped | P1 🔴 BLOCKING | 100% = 0 | IC3 shows no live SCADA data for any asset | IoT/SCADA-CMMS integration not configured | Map SCADA tags to assets; populate tbl_scada_tag and set iot_device_mapped=1 | tbl_scada_tag + tbl_asset
5 | tbl_monitoring | ALL columns | P1 🔴 BLOCKING | 100% EMPTY | No real-time data in IC3 monitoring section | SCADA-to-CMMS integration not live | Complete IoT device mapping (gap #4 first); SCADA tag subscription needed | tbl_monitoring
6 | tbl_asset | units_produced | P1 🔴 BLOCKING | 100% NULL | Production-based PM cannot trigger in IC3 | SCADA totalizer not linked to CMMS | Link SCADA totalizer tag via tbl_scada_tag; auto-update units_produced daily | tbl_asset + tbl_scada_tag
7 | tbl_asset | criticality | P1 ⚠️ DISCREPANCY | CONFLICT | Wrong alert priority in IC3 alert routing | data section=High, performance section=Non-Critical — vendor data error | Vendor to confirm correct criticality for each asset; update tbl_asset.criticality | tbl_asset
8 | tbl_equipment_model | model_code (Asset Model) | P2 | ~91% NULL | IC3 model lookup & spare parts blind | Model numbers not entered during asset creation | Collect model numbers from nameplates; populate tbl_equipment_model | tbl_equipment_model
9 | tbl_manufacturer | manufacturer_name | P2 | 33% NULL | IC3 manufacturer filter and warranty lookup | Not captured for all assets | Collect from nameplates; also normalise duplicates (Kirloskar vs KBL vs Kiloskar) | tbl_manufacturer
10 | tbl_asset | purchase_value | P2 | ~100% = 0 | Financial reporting & depreciation broken | Purchase records not in CMMS | Extract from procurement records; populate purchase_value + purchase_date | tbl_asset
11 | tbl_asset | purchase_date | P2 | ~100% NULL | Warranty calculation incorrect | Purchase records not in CMMS | Extract from procurement records or project handover docs | tbl_asset
12 | tbl_asset | service_provider_name (contract) | P1 | 100% NULL | Work order routing & escalation broken | Not populated in CMMS | Confirm service provider per asset/site; populate tbl_contract.service_provider_name | tbl_contract
13 | tbl_asset_category | cat_name (normalisation) | P2 | Inconsistent | IC3 category filter gives mixed results | Mixed case: Electrical/ELECTRICAL, Instrument/INSTRUMENTATION/INSTRUMENATION | Standardise to: Electrical / Mechanical / Instrumentation / Civil / SCADA | tbl_asset_category
14 | tbl_site | site_latitude, site_longitude | P1 | ~100% NULL | IC3 site-level map cluster missing | Site coordinates not captured | Provide site centroid GPS for each WTP/UGR/BPS site | tbl_site
15 | tbl_asset_location | floor_map_url | P2 | 100% NULL | IC3 indoor floor map cannot display | Floor plan drawings not uploaded | Upload floor plans for each site; populate floor_map_url in tbl_floor/tbl_site | tbl_floor + tbl_site