## CMMS TAG List
CMMS API Integration — TAG List ¦ Asset Type: NRV (Non-Return Valve) ¦ Customer: DJB_Package 02 ¦ Site: DJB Chandrawal WTP ¦ Asset ID: 575750
S.No | Tag Name (API Field) | Tag Description (Display Label) | API Section | Asset Type | Data Type | Engg. Unit / Data Format | R/W Permission | MQTT Topic Structure | Device / RTU Identification | API Endpoint / Protocol | Sample Value (from API) | Populated? (API) | Alarm / Event Tag? | Alarm Type | Alarm Priority | Quality / Health Status Tag | Asset Current Location | Asset Current Latitude | Asset Current Longitude
▶ SECTION 1 — Asset Identity & Location Data (API Section: data)
1 | id | Asset Trace ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/id | CMMS-API-SERVER | REST / HTTPS (JSON) | 575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
2 | traceid | Trace ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/traceid | CMMS-API-SERVER | REST / HTTPS (JSON) | 575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
3 | serialnumber | Serial Number | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/serialnumber | CMMS-API-SERVER | REST / HTTPS (JSON) | Hanuman_Mandir_NRV_10 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
4 | barcode | Barcode / QR Code | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/barcode | CMMS-API-SERVER | REST / HTTPS (JSON) | MOD135768/SER575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
5 | ble_id | BLE Tag ID | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/ble_id | CMMS-API-SERVER | REST / HTTPS (JSON) | MOD135768/SER575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
6 | status | Asset Status (Active/Inactive) | data | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | Yes | Status Change | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
7 | asset_live_status | Asset Live Status | data | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_live_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | Yes | Live Status | P1 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
8 | mapping_status | Mapping Status | data | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/mapping_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
9 | criticality | Asset Criticality | data | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/criticality | CMMS-API-SERVER | REST / HTTPS (JSON) | High | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
10 | capacity_rating | Capacity Rating | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/capacity_rating | CMMS-API-SERVER | REST / HTTPS (JSON) | 100 MM | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
11 | year_of_manufacturing | Year of Manufacturing | data | NRV (Non-Return Valve) | Integer | Year | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/year_of_manufacturing | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
12 | installation_date | Installation Date | data | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/installation_date | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
13 | asset_reference_number | Asset Reference Number | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_reference_number | CMMS-API-SERVER | REST / HTTPS (JSON) | NA | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
14 | customer_name | Customer Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/customer_name | CMMS-API-SERVER | REST / HTTPS (JSON) | DJB_Package 02 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
15 | customer_id | Customer ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/customer_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 24305 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
16 | location_name | Location Name / Zone | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/location_name | CMMS-API-SERVER | REST / HTTPS (JSON) | New Rajender Nagar R Block_Zone | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
17 | location_id | Location ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/location_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 34640 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
18 | building_name | Building / OLB Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/building_name | CMMS-API-SERVER | REST / HTTPS (JSON) | Hanuman Mandir OLB | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
19 | building_id | Building ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/building_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 16437 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
20 | floor_name | Floor / Site Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/floor_name | CMMS-API-SERVER | REST / HTTPS (JSON) | DJB Chandrawal WTP | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
21 | floor_id | Floor ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/floor_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 11966 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
22 | asset_floor_id | Asset-Floor Mapping ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_floor_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 19844 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
23 | department_name | Department Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/department_name | CMMS-API-SERVER | REST / HTTPS (JSON) | OLB | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
24 | department_id | Department ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/department_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 12230 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
25 | floor_map | Floor Map URL | data | NRV (Non-Return Valve) | String | URL | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/floor_map | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
26 | equipments_model_id | Equipment Model ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/equipments_model_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 135768 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
27 | in_charge_person | In-Charge Person / O&M Agency | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/in_charge_person | CMMS-API-SERVER | REST / HTTPS (JSON) | JWIL | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
28 | selectmachineowner | Machine Owner ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/selectmachineowner | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
29 | selectmachineownername | Machine Owner Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/selectmachineownername | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
30 | fk_customers_equipment_mapping_id | Customer-Equipment Mapping ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/fk_customers_equipment_mapping_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 548749 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
31 | customers_locations_serialnumber_mapping_id | Location-Serial Mapping ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/customers_locations_serialnumber_mapping_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 503780 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
32 | asset_type | Asset Type Code | data | NRV (Non-Return Valve) | Integer | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_type | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
33 | is_loaner | Is Loaner Asset | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_loaner | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
34 | loaner_availability | Loaner Availability | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/loaner_availability | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
35 | iot_device_mapped | IoT Device Mapped | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/iot_device_mapped | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
36 | ticketcount | Open Ticket Count | data | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/ticketcount | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | High Ticket Count | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
37 | schedulecount | PM Schedule Count | data | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/schedulecount | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
38 | schedule_configured | Schedule Configured | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/schedule_configured | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
39 | schedule_initiate | Schedule Initiate | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/schedule_initiate | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
40 | is_ble_tracking | BLE Tracking Enabled | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_ble_tracking | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
41 | is_rfid_tracking | RFID Tracking Enabled | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_rfid_tracking | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
42 | is_qr_tracking | QR Tracking Enabled | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_qr_tracking | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
43 | asset_tracking_status | Asset Tracking Status | data | NRV (Non-Return Valve) | Integer | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_tracking_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
44 | is_tracking_enabled | Tracking Enabled (Global) | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_tracking_enabled | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
45 | is_asset_tracking | Asset-Level Tracking Active | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_asset_tracking | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
46 | is_device_tracking | Device-Level Tracking Active | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_device_tracking | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
47 | last_tracking_time | Last Tracking Timestamp | data | NRV (Non-Return Valve) | DateTime | ISO 8601 | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_tracking_time | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
48 | blecode | BLE Code | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/blecode | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
49 | rfidcode | RFID Code | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/rfidcode | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
50 | device_id | IoT Device ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/device_id | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
51 | device_reference_id | Device Reference ID | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/device_reference_id | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
52 | device_ip | Device IP Address | data | NRV (Non-Return Valve) | String | IP Address | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/device_ip | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
53 | device_mac | Device MAC Address | data | NRV (Non-Return Valve) | String | MAC Address | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/device_mac | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
54 | is_meeting_room | Is Meeting Room Asset | data | NRV (Non-Return Valve) | Boolean | True/False | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_meeting_room | CMMS-API-SERVER | REST / HTTPS (JSON) | false | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
55 | depreciation_type | Depreciation Method | data | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/depreciation_type | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
56 | depreciation_percentage | Depreciation Rate (%) | data | NRV (Non-Return Valve) | Float | Percentage | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/depreciation_percentage | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
57 | asset_lifespan | Asset Lifespan (Years) | data | NRV (Non-Return Valve) | Integer | Years | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_lifespan | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
58 | units_produced | Units Produced | data | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/units_produced | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
59 | production_capability | Production Capability | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/production_capability | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
60 | purchase_date | Purchase Date | data | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/purchase_date | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
61 | purchase_value | Purchase Value (INR) | data | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/purchase_value | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
62 | current_asset_value | Current Asset Value (INR) | data | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/current_asset_value | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
63 | salvage_value | Salvage / Residual Value (INR) | data | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/salvage_value | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
64 | po_number | Purchase Order Number | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/po_number | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
65 | service_provider_name | Service Provider Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/service_provider_name | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
66 | contract_name | Contract Name | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/contract_name | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
67 | contract_number | Contract Number | data | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/contract_number | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
68 | in_contract_type | Contract Type Code | data | NRV (Non-Return Valve) | Integer | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/in_contract_type | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
69 | contract_status | Contract Status | data | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/contract_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
70 | asset_contract_id | Asset Contract ID | data | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_contract_id | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
71 | asset_contract_start_date | Contract Start Date | data | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_contract_start_date | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
72 | asset_contract_end_date | Contract End Date | data | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/asset_contract_end_date | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | Yes | Contract Expiry | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
73 | is_existing_contract | Existing Contract Flag | data | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/is_existing_contract | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
▶ SECTION 2 — Asset Performance & Reliability KPIs (API Section: performance)
74 | performance.equipments_name | Equipment Name (Performance) | performance | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.equipments_name | CMMS-API-SERVER | REST / HTTPS (JSON) | NRV | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
75 | performance.equipment_model_name | Equipment Model (Performance) | performance | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.equipment_model_name | CMMS-API-SERVER | REST / HTTPS (JSON) | NA | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
76 | performance.serialnumber | Serial Number (Performance) | performance | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.serialnumber | CMMS-API-SERVER | REST / HTTPS (JSON) | Hanuman_Mandir_NRV_10 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
77 | performance.criticality_type_label | Criticality Label | performance | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.criticality_type_label | CMMS-API-SERVER | REST / HTTPS (JSON) | Non-Critical | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
78 | performance.total_ticket | Total Breakdown Tickets | performance | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.total_ticket | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | High BM Count | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
79 | performance.mttr | MTTR (Mean Time to Repair) | performance | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.mttr | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | High MTTR | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
80 | performance.mtbf | MTBF (Mean Time Between Failures) | performance | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.mtbf | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | Low MTBF | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
81 | performance.availability | Asset Availability (%) | performance | NRV (Non-Return Valve) | Float | Percentage | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.availability | CMMS-API-SERVER | REST / HTTPS (JSON) | 100 | Yes | Yes | Low Availability | P1 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
82 | performance.total_ticket_breakdown_hrs | Total Breakdown Hours | performance | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.total_ticket_breakdown_hrs | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
83 | performance.total_schedule_breakdown_hrs | Total PM Deviation Hours | performance | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.total_schedule_breakdown_hrs | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
84 | performance.asset_created_date | Asset Created Date | performance | NRV (Non-Return Valve) | DateTime | DD/MM/YYYY HH:MM | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.asset_created_date | CMMS-API-SERVER | REST / HTTPS (JSON) | 22/06/2023 15:54 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
85 | performance.total_actual_hrs | Total Operational Hours | performance | NRV (Non-Return Valve) | String | HH:MM:SS | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/performance.total_actual_hrs | CMMS-API-SERVER | REST / HTTPS (JSON) | 25837:35:40 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
▶ SECTION 3 — Work Order Transactional Summary (API Section: workorder_transactional)
86 | workorder_transactional.upto.work_estimate_count | Work Estimate Count (Cumulative) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.work_estimate_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
87 | workorder_transactional.upto.work_estimate_cost | Work Estimate Cost – Cumulative (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.work_estimate_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
88 | workorder_transactional.upto.schedule_count | PM Schedule Count (Cumulative) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.schedule_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
89 | workorder_transactional.upto.schedule_cost | PM Schedule Cost – Cumulative (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.schedule_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
90 | workorder_transactional.upto.ticket_count | BM Ticket Count (Cumulative) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.ticket_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | High BM Count | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
91 | workorder_transactional.upto.ticket_cost | BM Ticket Cost – Cumulative (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.upto.ticket_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
92 | workorder_transactional.last_year.work_estimate_count | Work Estimate Count (Last Year) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.work_estimate_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
93 | workorder_transactional.last_year.work_estimate_cost | Work Estimate Cost – Last Year (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.work_estimate_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
94 | workorder_transactional.last_year.schedule_count | PM Schedule Count (Last Year) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.schedule_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
95 | workorder_transactional.last_year.schedule_cost | PM Schedule Cost – Last Year (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.schedule_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
96 | workorder_transactional.last_year.ticket_count | BM Ticket Count (Last Year) | workorder_transactional | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.ticket_count | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
97 | workorder_transactional.last_year.ticket_cost | BM Ticket Cost – Last Year (INR) | workorder_transactional | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/workorder_transactional.last_year.ticket_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | 0.00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
▶ SECTION 4 — Last PM Schedule (API Section: last_schedule.list[]) ⚠ Array currently empty — fields based on CMMS PM schema
98 | last_schedule.list[].schedule_id | Schedule ID | last_schedule | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].schedule_id | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
99 | last_schedule.list[].schedule_name | Schedule Name | last_schedule | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].schedule_name | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
100 | last_schedule.list[].schedule_type | Schedule Type | last_schedule | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].schedule_type | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
101 | last_schedule.list[].scheduled_date | Scheduled Date | last_schedule | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].scheduled_date | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | Overdue PM | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
102 | last_schedule.list[].completion_date | Completion Date | last_schedule | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].completion_date | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
103 | last_schedule.list[].schedule_status | Schedule Status | last_schedule | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].schedule_status | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | PM Overdue | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
104 | last_schedule.list[].assigned_technician | Assigned Technician | last_schedule | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].assigned_technician | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
105 | last_schedule.list[].estimated_duration | Estimated Duration (Hrs) | last_schedule | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].estimated_duration | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
106 | last_schedule.list[].actual_duration | Actual Duration (Hrs) | last_schedule | NRV (Non-Return Valve) | Float | Hours | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].actual_duration | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
107 | last_schedule.list[].schedule_cost | PM Cost (INR) | last_schedule | NRV (Non-Return Valve) | Float | INR | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/last_schedule.list[].schedule_cost | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
▶ SECTION 5 — Equipment Master / Asset ID Details (API Section: assetIDDeatails) — Additional fields beyond data section
108 | assetIDDeatails.fk_company_id | Company ID (Internal FK) | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.fk_company_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 1780 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
109 | assetIDDeatails.model_id | Equipment Model ID (Master) | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.model_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 135768 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
110 | assetIDDeatails.asset_id | Asset Master ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.asset_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 73847 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
111 | assetIDDeatails.manufacturer_id | Manufacturer ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.manufacturer_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 20006 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
112 | assetIDDeatails.cat_id | Category ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.cat_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 11370 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
113 | assetIDDeatails.subcategory_id | Sub-Category ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.subcategory_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 12374 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
114 | assetIDDeatails.manufacturer_name | Manufacturer Name | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.manufacturer_name | CMMS-API-SERVER | REST / HTTPS (JSON) | Kirloskar Brother Ltd | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
115 | assetIDDeatails.manufacturer_status | Manufacturer Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.manufacturer_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
116 | assetIDDeatails.category_name | Equipment Category | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.category_name | CMMS-API-SERVER | REST / HTTPS (JSON) | Mechanical | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
117 | assetIDDeatails.category_status | Category Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.category_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
118 | assetIDDeatails.sub_category | Equipment Sub-Category | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.sub_category | CMMS-API-SERVER | REST / HTTPS (JSON) | NRV | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
119 | assetIDDeatails.subcategory_status | Sub-Category Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.subcategory_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
120 | assetIDDeatails.equipments_name | Equipment Name (Master) | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.equipments_name | CMMS-API-SERVER | REST / HTTPS (JSON) | NRV | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
121 | assetIDDeatails.asset_status | Asset Record Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.asset_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
122 | assetIDDeatails.equipment_model_name | Equipment Model Name | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.equipment_model_name | CMMS-API-SERVER | REST / HTTPS (JSON) | NA | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
123 | assetIDDeatails.equipment_model_image | Equipment Model Image URL | assetIDDeatails | NRV (Non-Return Valve) | String | URL | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.equipment_model_image | CMMS-API-SERVER | REST / HTTPS (JSON) | (URL path) | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
124 | assetIDDeatails.is_movable | Is Movable Asset | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_movable | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
125 | assetIDDeatails.model_status | Model Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.model_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
126 | assetIDDeatails.equipment_description | Equipment Description | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.equipment_description | CMMS-API-SERVER | REST / HTTPS (JSON) | NRV 150MM | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
127 | assetIDDeatails.basic_warrantyduration | Basic Warranty Duration | assetIDDeatails | NRV (Non-Return Valve) | Integer | Months/Years | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.basic_warrantyduration | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
128 | assetIDDeatails.basic_warranty_duration_period | Basic Warranty Period Unit | assetIDDeatails | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.basic_warranty_duration_period | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
129 | assetIDDeatails.is_otherwarranty | Other Warranty Exists | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_otherwarranty | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
130 | assetIDDeatails.other_warrantyname | Other Warranty Name | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.other_warrantyname | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
131 | assetIDDeatails.other_warrantyduration | Other Warranty Duration | assetIDDeatails | NRV (Non-Return Valve) | Integer | Months/Years | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.other_warrantyduration | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
132 | assetIDDeatails.other_warranty_duration_period | Other Warranty Period Unit | assetIDDeatails | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.other_warranty_duration_period | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
133 | assetIDDeatails.warranty_description | Warranty Description | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.warranty_description | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
134 | assetIDDeatails.meter_reading | Meter Reading (Current) | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.meter_reading | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
135 | assetIDDeatails.meter_reading_frequency_interval | Meter Reading Frequency Interval | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.meter_reading_frequency_interval | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
136 | assetIDDeatails.meter_reading_frequency_duration | Meter Reading Frequency Duration | assetIDDeatails | NRV (Non-Return Valve) | Integer | Days | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.meter_reading_frequency_duration | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
137 | assetIDDeatails.measuring_equipment_type | Is Measuring Equipment | assetIDDeatails | NRV (Non-Return Valve) | Boolean | True/False | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.measuring_equipment_type | CMMS-API-SERVER | REST / HTTPS (JSON) | false | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
138 | assetIDDeatails.traceability_id | Traceability ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.traceability_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
139 | assetIDDeatails.qrcode | QR Code Value | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.qrcode | CMMS-API-SERVER | REST / HTTPS (JSON) | MOD135768/SER575750 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
140 | assetIDDeatails.qrcode_image | QR Code Image Path | assetIDDeatails | NRV (Non-Return Valve) | String | URL | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.qrcode_image | CMMS-API-SERVER | REST / HTTPS (JSON) | assets/1780/qrcode/… | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
141 | assetIDDeatails.traceability_status | Traceability Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.traceability_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
142 | assetIDDeatails.traceability_updated_on | Traceability Last Updated | assetIDDeatails | NRV (Non-Return Valve) | DateTime | ISO 8601 | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.traceability_updated_on | CMMS-API-SERVER | REST / HTTPS (JSON) | 2026-03-19 05:44:37+00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
143 | assetIDDeatails.is_running | Is Asset Currently Running | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_running | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | Yes | Not Running | P2 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
144 | assetIDDeatails.is_system_asset | Is System Asset | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_system_asset | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
145 | assetIDDeatails.customer_traceability_id | Customer-Traceability Link ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_traceability_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 548749 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
146 | assetIDDeatails.customer_serail_status | Customer Serial Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_serail_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
147 | assetIDDeatails.customer_traceability_created_date | Customer Traceability Created Date | assetIDDeatails | NRV (Non-Return Valve) | DateTime | ISO 8601 | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_traceability_created_date | CMMS-API-SERVER | REST / HTTPS (JSON) | 2023-06-22 10:24:19+00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
148 | assetIDDeatails.customer_model_id | Customer Model ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_model_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 166606 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
149 | assetIDDeatails.customer_model_status | Customer Model Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_model_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
150 | assetIDDeatails.customer_status | Customer Account Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
151 | assetIDDeatails.customer_contact_number | Customer Contact Number | assetIDDeatails | NRV (Non-Return Valve) | String | Phone | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_contact_number | CMMS-API-SERVER | REST / HTTPS (JSON) | (blank) | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
152 | assetIDDeatails.customer_contact_email | Customer Contact Email | assetIDDeatails | NRV (Non-Return Valve) | String | Email | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_contact_email | CMMS-API-SERVER | REST / HTTPS (JSON) | (blank) | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
153 | assetIDDeatails.location_traceability_id | Location-Traceability Link ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.location_traceability_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 503780 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
154 | assetIDDeatails.location_traceability_status | Location Traceability Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.location_traceability_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
155 | assetIDDeatails.location_traceability_created_date | Location Traceability Created Date | assetIDDeatails | NRV (Non-Return Valve) | DateTime | ISO 8601 | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.location_traceability_created_date | CMMS-API-SERVER | REST / HTTPS (JSON) | 2023-06-22 10:24:19+00 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
156 | assetIDDeatails.location_model_id | Location Model ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.location_model_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 174819 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
157 | assetIDDeatails.location_model_status | Location Model Status | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.location_model_status | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
158 | assetIDDeatails.asset_building_id | Asset-Building Mapping ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.asset_building_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 21840 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
159 | assetIDDeatails.asset_floor_id | Asset-Floor Mapping ID (Details) | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.asset_floor_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 19844 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
160 | assetIDDeatails.asset_department_id | Asset-Department Mapping ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.asset_department_id | CMMS-API-SERVER | REST / HTTPS (JSON) | 27410 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
161 | assetIDDeatails.current_equipment_location_latitude | Equipment Location Latitude (Master) | assetIDDeatails | NRV (Non-Return Valve) | Float | Decimal Degrees | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.current_equipment_location_latitude | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
162 | assetIDDeatails.current_equipment_location_longitude | Equipment Location Longitude (Master) | assetIDDeatails | NRV (Non-Return Valve) | Float | Decimal Degrees | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.current_equipment_location_longitude | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
163 | assetIDDeatails.current_equipment_location | Equipment Location (Master) | assetIDDeatails | NRV (Non-Return Valve) | String | Text / Address | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.current_equipment_location | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
164 | assetIDDeatails.install_date | Install Date (Master) | assetIDDeatails | NRV (Non-Return Valve) | Date | DD/MM/YYYY | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.install_date | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
165 | assetIDDeatails.customer_priority | Customer Priority | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_priority | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
166 | assetIDDeatails.customer_lattitude | Customer Site Latitude | assetIDDeatails | NRV (Non-Return Valve) | Float | Decimal Degrees | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_lattitude | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
167 | assetIDDeatails.customer_longitude | Customer Site Longitude | assetIDDeatails | NRV (Non-Return Valve) | Float | Decimal Degrees | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_longitude | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
168 | assetIDDeatails.customer_geo_address | Customer Geo Address | assetIDDeatails | NRV (Non-Return Valve) | String | Text / Address | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_geo_address | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
169 | assetIDDeatails.contract_type | Contract Type (Master) | assetIDDeatails | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.contract_type | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
170 | assetIDDeatails.amc_id | AMC ID | assetIDDeatails | NRV (Non-Return Valve) | Integer | Numeric | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.amc_id | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
171 | assetIDDeatails.no_of_callout | Number of Callouts Allowed | assetIDDeatails | NRV (Non-Return Valve) | Integer | Count | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.no_of_callout | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
172 | assetIDDeatails.is_callout_restirction | Callout Restriction Flag | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_callout_restirction | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
173 | assetIDDeatails.approval_required | WO Approval Required | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.approval_required | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
174 | assetIDDeatails.customer_workorder_approval | Customer WO Approval Required | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.customer_workorder_approval | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
175 | assetIDDeatails.workorder_required | Work Order Mandatory | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum (0/1) | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.workorder_required | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
176 | assetIDDeatails.package_code | Package Code | assetIDDeatails | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.package_code | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
177 | assetIDDeatails.signal_strength | IoT Signal Strength | assetIDDeatails | NRV (Non-Return Valve) | Float | dBm | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.signal_strength | CMMS-API-SERVER | REST / HTTPS (JSON) | null | null | Yes | Weak Signal | P3 |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
178 | assetIDDeatails.is_main_asset | Is Main / Parent Asset | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_main_asset | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
179 | assetIDDeatails.is_facility | Is Facility Asset | assetIDDeatails | NRV (Non-Return Valve) | Boolean | 0/1 Flag | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.is_facility | CMMS-API-SERVER | REST / HTTPS (JSON) | 0 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
180 | assetIDDeatails.criticality_type | Criticality Type Code | assetIDDeatails | NRV (Non-Return Valve) | Integer | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/assetIDDeatails.criticality_type | CMMS-API-SERVER | REST / HTTPS (JSON) | 1 | Yes | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
▶ SECTION 6 — IoT / Real-Time Monitoring (API Section: monitoring[]) ⚠ Array currently empty — fields based on CMMS IoT schema
181 | monitoring[].parameter | Parameter Name | monitoring | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].parameter | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
182 | monitoring[].value | Current Parameter Value | monitoring | NRV (Non-Return Valve) | Float | Per Parameter | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].value | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | Out of Range | P1 | mon-QUAL | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
183 | monitoring[].unit | Parameter Unit | monitoring | NRV (Non-Return Valve) | String | Text | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].unit | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | No |  |  |  | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
184 | monitoring[].timestamp | Last Updated Timestamp | monitoring | NRV (Non-Return Valve) | DateTime | ISO 8601 | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].timestamp | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | Stale Data | P2 | mon-QUAL | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
185 | monitoring[].threshold_high | High Alarm Threshold | monitoring | NRV (Non-Return Valve) | Float | Per Parameter | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].threshold_high | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | HI Alarm | P2 | mon-QUAL | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
186 | monitoring[].threshold_low | Low Alarm Threshold | monitoring | NRV (Non-Return Valve) | Float | Per Parameter | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].threshold_low | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | LO Alarm | P2 | mon-QUAL | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195
187 | monitoring[].alarm_status | Current Alarm Status | monitoring | NRV (Non-Return Valve) | String | Enum | Read | jwil/DJB/CHAND-WTP/CMMS/{asset_id}/monitoring[].alarm_status | CMMS-API-SERVER | REST / HTTPS (JSON) | — | empty | Yes | Active Alarm | P1 | mon-QUAL | Chandrawal WTP, Civil Lines, Delhi – 110054 | 28.6929 | 77.2195