IC³

Command Centre

INTELLIGENT CONTROL · COMMUNICATION · COORDINATION

─────────────────────────────────────────

LAB SETUP & DEPLOYMENT GUIDE

Version 1.0  ·  May 2026

| FIELD | DETAIL |
| --- | --- |
| Project Name | IC³ Dashboard — Command Centre v1.0 |
| Repository | https://gitlab.com/thinksoft0101/ic3.git |
| Branch | main |
| Technology | Go 1.22 + React 18 + TypeScript + PostgreSQL 16 |
| Prepared by | thinksoft0101@gmail.com |
| Document Date | May 2026 |
| Document Type | Technical Setup Guide |

# 1.  Project Overview

IC³ (Intelligent Control, Communication & Coordination) is a real-time industrial IoT dashboard for monitoring water utility infrastructure. It provides live telemetry from Redis, PostgreSQL storage, and 10 fully functional dashboard modules.

### Architecture

| LAYER | TECHNOLOGY | PURPOSE |
| --- | --- | --- |
| Backend | Go 1.22 + gorilla/websocket | REST API :9090, WebSocket, JWT auth |
| Database | PostgreSQL 16 + pgx/v5 | 9-table schema, auto-migrations |
| Cache | Redis (remote) | Live telemetry polling every 2s |
| Frontend | React 18 + TypeScript + Vite 5 | 10-tab SPA dashboard |
| Maps | Google Maps API | GIS pipeline network overlay |
| Charts | Recharts 2.x | Telemetry trends & reports |

### Dashboard Modules

| TAB | MODULE | DESCRIPTION |
| --- | --- | --- |
| DASH | Dashboard Overview | Live 6-panel grid — all modules at a glance |
| SCADA | SCADA Telemetry | Real-time asset table, domain filters, live values |
| GIS | GIS Map | Google Maps dark theme with pipeline network (53 pipes) |
| AI | Analytics & AI | Anomaly detection, stale data alerts |
| ALARM | Alarms | Active alarm monitor with severity levels |
| CMMS | Work Orders | Maintenance management, WO status tracking |
| MDM | Asset Registry | Master data — 80+ assets, class/manufacturer/protocol |
| RPTS | Reports | System overview, domain analysis, data quality charts |
| SEC | Security | Audit log, access control, threat level monitoring |
| ADMIN | Administration | System status, user management, configuration |

# 2.  Prerequisites

Install all four tools before cloning the repository. All are free and available for Windows 10/11.

## 2.1  Git

| ITEM | DETAIL |
| --- | --- |
| Download URL | https://git-scm.com/download/win |
| Version | 2.40+ (any recent version) |
| During Install | Select "Git from command line and 3rd-party software" |
| Verify | Open PowerShell → type: git --version |

# Expected output after install:

PS> git --version

git version 2.44.0.windows.1

## 2.2  Go 1.22+

| ITEM | DETAIL |
| --- | --- |
| Download URL | https://go.dev/dl/ |
| File | go1.22.x.windows-amd64.msi |
| Install | Run the .msi installer — PATH is set automatically |
| Verify | Open NEW PowerShell → type: go version |

# Expected output:

PS> go version

go version go1.22.3 windows/amd64

## 2.3  Node.js 20 LTS

| ITEM | DETAIL |
| --- | --- |
| Download URL | https://nodejs.org |
| File | LTS version (v20.x or v22.x) |
| Install | Run the .msi installer — npm is included |
| Verify | Open NEW PowerShell → type: node --version |

# Expected output:

PS> node --version

v20.14.0

PS> npm --version

10.7.0

## 2.4  PostgreSQL 16

| ITEM | DETAIL |
| --- | --- |
| Download URL | https://www.enterprisedb.com/downloads/postgres-postgresql-downloads |
| Version | PostgreSQL 16.x Windows x86-64 |
| postgres password | Set to: postgres123 (required — must match exactly) |
| Port | 5432 (keep default) |
| Locale | Keep default |
| pgAdmin | Included in installer — GUI database manager |

NOTE    The postgres user password MUST be set to "postgres123" during install. The backend connects using this password. If you use a different password you must update the DATABASE_URL environment variable.

# 3.  Clone Repository from GitLab

Open PowerShell (press Win + X → "Windows PowerShell") and run the following commands:

# Navigate to C: drive root

cd C:\

# Clone the repository

git clone https://gitlab.com/thinksoft0101/ic3.git

# Enter the project folder

cd ic3

# Confirm files are present

dir

Git will ask for credentials:

| PROMPT | VALUE |
| --- | --- |
| Username | thinksoft0101 |
| Password | Your GitLab Personal Access Token (ask project owner) |

NOTE    If you do not have a Personal Access Token, go to: GitLab → Profile → Access Tokens → Add new token → select "read_repository" scope → copy the token and use it as the password.

After cloning, you should see this folder structure:

ic3/

├── backend/        ← Go backend source code

├── frontend/       ← React frontend source code

├── probe/          ← Optional probe agent

├── go.work         ← Go workspace file

└── start.bat       ← One-click startup script

# 4.  Create PostgreSQL Database

The backend auto-creates all 9 tables when it first starts. You only need to create the empty database named "ic3".

## Option A — Using pgAdmin 4 (Recommended for beginners)

- Open pgAdmin 4 from the Start menu

- In the left panel → expand Servers → PostgreSQL 16

- Enter the master password: postgres123

- Right-click on "Databases" → Create → Database

- In the "Database" field type:   ic3

- Click Save

NOTE    Leave all other settings as default. The backend will create all tables automatically.

## Option B — Using PowerShell Command

Run this in PowerShell after PostgreSQL is installed:

# Create the ic3 database

& "C:\Program Files\PostgreSQL\16\bin\psql.exe" -U postgres -c "CREATE DATABASE ic3;"

# When prompted, enter password: postgres123

# Verify the database was created

& "C:\Program Files\PostgreSQL\16\bin\psql.exe" -U postgres -c "\l" | findstr ic3

| FIELD | VALUE |
| --- | --- |
| Database name | ic3 |
| Owner | postgres |
| Connection URL | postgresql://postgres:postgres123@localhost:5432/ic3?sslmode=disable |

# 5.  Build & Run the Backend

## 5.1  Download Go Dependencies

cd C:\ic3\backend

# Download all required Go packages

go mod download

# Expected output (no errors):

# go: downloading github.com/jackc/pgx/v5 ...

# go: downloading github.com/redis/go-redis/v9 ...

# go: downloading github.com/golang-jwt/jwt/v5 ...

## 5.2  Build the Binary

# Compile Go source to executable

go build -o ic3-backend.exe .

# Verify the .exe was created

dir ic3-backend.exe

If build succeeds, you will see ic3-backend.exe in the backend folder with no error messages.

## 5.3  Start the Backend

# Run the backend server

.\ic3-backend.exe

Expected startup output:

2026/05/25 10:00:01 Migration 1 already applied — skipping

2026/05/25 10:00:01 PostgreSQL connected, all migrations applied

2026/05/25 10:00:01 IC³ Dashboard backend → http://localhost:9090

2026/05/25 10:00:03 Redis connected to 13.237.154.232:6379

NOTE    Keep this PowerShell window OPEN. The backend must stay running while you use the dashboard.

## 5.4  API Endpoints

| METHOD | ENDPOINT | DESCRIPTION |
| --- | --- | --- |
| POST | /api/auth/login | Login → returns JWT token |
| GET | /api/telemetry/latest | Latest telemetry per asset |
| GET | /api/telemetry/history | Historical records with filters |
| GET | /api/stats | Total records, alarms, domains |
| WS | /ws | WebSocket — live telemetry stream |

# 6.  Build & Run the Frontend

## 6.1  Install npm Packages

Open a NEW PowerShell window (keep the backend window open):

cd C:\ic3\frontend

# Install all React/TypeScript dependencies

npm install

# Expected output (takes 1-2 minutes):

# added 312 packages in 45s

## 6.2  Start the Development Server

# Start Vite development server

npm run dev

# Expected output:

#   VITE v5.4.0  ready in 800ms

#   ➜  Local:   http://localhost:5173/

#   ➜  Network: use --host to expose

NOTE    Keep this PowerShell window OPEN as well. Both windows (backend + frontend) must stay running.

# 7.  Open the Dashboard

Open Chrome or Edge browser and go to:

http://localhost:5173

## Login Credentials

| USERNAME | PASSWORD | ROLE | ACCESS LEVEL |
| --- | --- | --- | --- |
| admin | admin123 | Administrator | Full access to all modules |
| operator | op123 | Operator | SCADA, GIS, Alarms, CMMS |
| viewer | view123 | Viewer | Read-only — Dashboard, Reports |

NOTE    For a first test, log in with admin / admin123 to see all 10 dashboard tabs.

# 8.  One-Click Startup (After First Setup)

After completing the full setup once, you can start everything with a single double-click:

Double-click:   C:\ic3\start.bat

start.bat will:

- Start the Go backend on port 9090

- Start the Vite frontend on port 5173

- Show status messages in a terminal window

NOTE    Wait 3-5 seconds after double-clicking before opening the browser, to give the backend time to connect to PostgreSQL and Redis.

# 9.  Troubleshooting

| PROBLEM | LIKELY CAUSE | FIX |
| --- | --- | --- |
| "Cannot reach server" on login page | Backend not running | Open PowerShell → cd C:\ic3\backend → run ic3-backend.exe |
| "go: command not found" | Go not in PATH | Close all PowerShell windows and open a fresh one after Go install |
| "database ic3 does not exist" | Database not created | Follow Section 4 to create the ic3 database in pgAdmin or psql |
| "address already in use :9090" | Old backend still running | Run: netstat -ano ¦ findstr :9090 → then Stop-Process -Id <PID> -Force |
| npm install fails | Old Node.js version | Uninstall Node.js, download v20 LTS from nodejs.org, reinstall |
| GIS map is blank (no pipeline shown) | Google Maps API key is project-specific | Contact project owner for the Maps API key |
| Login works but no data in tables | Redis not reachable or no data yet | Wait 10-30 seconds for Redis polling to populate data |
| Port 5173 already in use | Another Vite server running | Close other terminals or run: npx kill-port 5173 |

# 10.  Environment Variables

The backend reads these environment variables at startup. All have sensible defaults for local development — only change them if needed.

| VARIABLE | DEFAULT VALUE | DESCRIPTION |
| --- | --- | --- |
| DATABASE_URL | postgresql://postgres:postgres123 @localhost:5432/ic3?sslmode=disable | PostgreSQL connection string |
| JWT_SECRET | ic3-secret-2024 | JWT signing key — change in production |
| PORT | 9090 | Backend HTTP port |

To override, set in PowerShell before running the backend:

# Example: use a different database password

$env:DATABASE_URL = "postgresql://postgres:MyPassword@localhost:5432/ic3?sslmode=disable"

# Then start backend:

cd C:\ic3\backend

.\ic3-backend.exe

# 11.  Setup Checklist

Use this checklist to confirm every step is complete before testing the dashboard:

| ✓ | STEP | VERIFY COMMAND / ACTION |
| --- | --- | --- |
| ☐ | Git installed | git --version |
| ☐ | Go 1.22+ installed | go version |
| ☐ | Node.js 20+ installed | node --version |
| ☐ | PostgreSQL 16 installed | pgAdmin 4 opens without error |
| ☐ | ic3 database created | See "ic3" in pgAdmin databases list |
| ☐ | Repository cloned | C:\ic3\backend\ folder exists |
| ☐ | Go deps downloaded | go mod download (no errors) |
| ☐ | Backend built | ic3-backend.exe file exists |
| ☐ | npm install done | C:\ic3\frontend\node_modules\ exists |
| ☐ | Backend running | Terminal shows "PostgreSQL connected" |
| ☐ | Frontend running | Terminal shows "Local: http://localhost:5173" |
| ☐ | Dashboard opens | Browser shows IC³ login page |
| ☐ | Login works | admin / admin123 → Dashboard loads |
| ☐ | Live data showing | SCADA tab shows assets with values |

IC³ Command Centre  ·  Lab Setup Guide  ·  v1.0  ·  May 2026  ·  thinksoft0101@gmail.com